## University of Idaho

Sandpoint Research & Extension Center

## LABORATORY SAFETY PLAN

- Introduction - The University of Idaho recognizes and supports the importance of laboratory teaching and research activities conducted at the university. The university also recognizes the many different applications hazardous materials have in an institutional environment. The purpose of this Laboratory Safety Plan is to promote these activities while providing procedures that will ensure the safety of personnel working in laboratories when handling hazardous chemicals, radioactive materials, biological agents, or while operating certain types of equipment that could cause physical harm. Users must perform a hazard assessment prior to operations and determine the nature of all hazards and use appropriate control measures to mitigate the hazards present.

This Laboratory Safety Plan is specific to Sandpoint Research & Extension Center (SREC) laboratory.

Contact Information:

| Primary Contact: | Danny L. Barney, Ph.D. |
| --- | --- |
| Phone: | Office 208-263-2323 Cell: 208-255-9370 Home: 208-263-2552 |
| Department: | Plant, Soil, & Entomological Sciences |

- Chemicals - Appendix A contains a general list of chemicals stored and/or used in the SREC laboratory. A chemical inventory is maintained electronically and is stored on the hard drive of Dr. Barney’s desktop computer and backed up on an external hard drive. The inventory can be accessed by Dr. Barney or the SREC Administrative Assistant, Brooke Ramsey. The file location is C:\My Documents\RESEARCH\Laboratory Protocols\Inventories\Chemical Inventory.xls.

- Material Safety Data Sheets- Material safety data sheets (MSDSs) are an essential source of information regarding the chemical composition and hazards presented by a material. MSDS information includes physical data, toxicity and health effects, first aid recommendations, reactivity data, storage and disposal information, recommended protective equipment, and spill or leak response procedures. An MSDS also provides valuable information for medical personnel in the event of an injury or exposure involving a hazardous material. MSDSs must be current and reflect those materials that are being stored and used in the laboratory. The following website provides MSDS information: http://hazard.com/msds/index.php.

- MSDSs for laboratory materials are stored electronically on Dr. Barney’s desktop hard drive and on an external hard drive and can be accessed by Dr. Barney or Brooke Ramsey. The address is C:\My Documents\R&E-CENT\Safety\MSDS.

- Standard Operating Procedures- Standard Operating Procedures (SOPs) are contained in Appendix C.

  - Fume Hood – The portable fume hood presently in the laboratory is not vented and is not to be used for toxic or hazardous materials.

  - Laminar Flow Hood – The laminar flow hood is to be used only for micropropagation of plant materials or seed germination trials. No toxic or hazardous materials, other than 70% ethanol or Lysol disinfectant are to be used in the hood. No open flames are allowed. The hood provides no personal protection and is not to be used with pathogenic microorganisms.

- Personal Protective Equipment - The following safety equipment is required for entry and/or working in this laboratory:

For University of Idaho personnel, students, and interns who work in the laboratory.

- Eye protection - Safety glasses must be worn at all times in the laboratory. Safety goggles must be worn when working with chemicals or engaging in activities that could involve splash hazards, flying debris, particulates, dusts, mists, or aerosols.

- Gloves – Heavy-duty latex or nitrile gloves are to be used loading or unloading the autoclave and when washing glassware. Latex or vinyl surgical gloves are to be worn during micropropagation.

- Footwear - Closed toe shoes are required at all times in the laboratory. Clogs with holes in the shoe uppers are not allowed. When micropropagation is in progress, street shoes are to be removed outside of the laboratory and replaced with clean shoes kept only for laboratory and office use.

- Clothing –A lab coat is required when working with chemicals and biological agents. Lab aprons are available when working with liquids. The laboratory doubles as a clean room. Clean clothes and clean street shoes are required to enter the laboratory. Employees should complete laboratory work before engaging in outdoor or greenhouse activities. Footwear and clothing used in field work, in the greenhouse, or for landscape maintenance are not allowed in the laboratory unless specifically directed by Dr. Barney while plant materials are being transferred into or out of the laboratory.

For visitors to the laboratory.

    - Eye protection - Safety glasses must be worn at all times in the laboratory. Safety goggles must be worn when activities involve splash hazards, flying debris, or the generation of particulates, dusts, mists, or aerosols.

    - Footwear - Closed toe shoes are required at all times in the laboratory. Clogs with holes in the uppers are not allowed. Visitors with otherwise unacceptable footwear may enter the lab wearing disposable booties over their street shoes.

    - Clothing - Visitors entering the laboratory must be wearing clean clothes and clean street shoes that have not been worn in a garden, greenhouse, field, forest, or landscape since laundering.

- First Aid – A first aid kit is located in the kitchen area immediately outside the laboratory door. The first aid kit should be checked monthly. The first aid kit should contain, at a minimum, Items listed in the University of Idaho standardized first aid kit guidelines. The list can be found at: www.uidaho.edu/safety/FacilityInspections/FacilityInspectionsHome.htm. A copy of the Blood-Borne Pathogen Safety Guidelines is to remain posted near the first aid kit.

- Safety Inspections

The SREC laboratory will undergo a safety inspection once monthly. The inspection will include a test of the emergency eyewash and emergency shower. A paper copy of the signed inspection form will be filed in the laboratory and an electronic copy maintained on Dr. Barney’s desktop computer.

- Applicability - All personnel who use the University of Idaho laboratory facilities, or who participate in a University of Idaho sponsored activity that involves hazardous materials in laboratories are expected to comply with the provisions of this manual. Personnel including, but not limited to, faculty, staff, teaching and research assistants, and students are responsible for conducting activities in laboratories and handling hazardous materials in a safe manner as specified in this manual. Procedures are to be established in the laboratory safety plan that will provide appropriate protection to non-university personnel, including visitors, tour groups, maintenance and repair personnel, who would have reason to enter the laboratory. All university departments are responsible for ensuring employees are provided with, and understand, a laboratory safety plan applicable for the specific work area.

Appendix A

Chemicals typically stored and/or used in the SREC laboratory are listed below. A chemical inventory is maintained electronically and is stored on the hard drive of Dr. Barney’s desktop computer and backed up on an external hard drive. The inventory can be accessed by Dr. Barney or the SREC Administrative Assistant, Brooke Ramsey. The file location is C:\My Documents\RESEARCH\Laboratory Protocols\Inventories\Chemical Inventory.xls.

| Product Name | Product Description | Location |
| --- | --- | --- |
| 1, 10 phenanthroline ferrous sulfate |  | Chemical Cabinet 1 |
| 2,4 –D | C8H6Cl2O3 | Chemical Cabinet 1 |
| 6 aza uracil |  | Chemical Cabinet 1 |
| 8-quinolinol hemisulfate salt | C9 H7 NO * ½ H2O4S | Chemical Cabinet 1 |
| acetic acid, glacial | CH3COOH | Chemical Cabinet 1 |
| acetone |  | Flammable Cabinet 1 |
| acid plant food |  | Chemical Cabinet 2 |
| adenine sulfate | (C3H5N5)2 *H2SO4 * 2H2O | Chemical Cabinet 1 |
| agar |  | Chemical Cabinet 1 |
| aluminum ammonium sulfate | Al2(SO4)3 * NH4)2SO4-24H2O | Chemical Cabinet 1 |
| ammonium molybdate - 4-hydrate | (NH4)6Mo7O24* 4H2O | Chemical Cabinet 1 |
| ammonium nitrate | NH4NO3 | Chemical Cabinet 1 |
| calcium sulfate - anhydrous | Ca SO4 | Chemical Cabinet 1 |
| aniline blue |  | Chemical Cabinet 2 |
| antimony potassium tartrate | K(SbO)C4H4O6 * 1/2H2O | Chemical Cabinet 1 |
| azomethine H boron reagent |  | Chemical Cabinet 1 |
| barium sulfate | BA SO4 | Chemical Cabinet 1 |
| basic fuchsin |  | Chemical Cabinet 2 |
| benomyl |  | Chemical Cabinet 2 |
| boric acid | H3 BO3 | Chemical Cabinet 1 |
| buffer 7+(-) 0.02 |  | Chemical Cabinet 2 |
| buffer 9+ (-) 0.02 |  | Chemical Cabinet 2 |
| buffer Solution pH 4.00 (red) |  | Chemical Cabinet 2 |
| buffer Solution pH 7.00 (yellow) |  | Chemical Cabinet 2 |
| buffer Solution pH10 (blue) |  | Chemical Cabinet 2 |
| buffer Tablets (4 pH) |  | Chemical Cabinet 2 |
| buffer Tablets (7pH) |  | Chemical Cabinet 2 |
| caffeic acid |  | Chemical Cabinet 1 |
| calcium carbonate | Ca CO3 | Chemical Cabinet 1 |
| calcium chloride - dihydrate | Ca Cl2 * 2H2O | Chemical Cabinet 1 |
| calcium nitrate | Ca (NO3)2 * 4H2O | Chemical Cabinet 1 |
| Calgon |  | Chemical Cabinet 1 |
| casein hydrolysate |  | Chemical Cabinet 1 |
| Chamber Cleaner | HCL | Chemical Cabinet 3 |
| chlorogenic acid |  | Chemical Cabinet 1 |
| chromium trioxide | CrO3 | Chemical Cabinet 1 |
| citric acid | C6H8O7 | Chemical Cabinet 1 |
| Clorox |  | Chemical Cabinet 3 |
| cobalt chloride - hexahydrate | Co Cl2 * 6H2O | Chemical Cabinet 1 |
| colchicine |  | Chemical Cabinet 1 |
| copper carbonate (basic) |  | Chemical Cabinet 1 |
| crystal violet |  | Chemical Cabinet 2 |
| cupric sulfate |  | Chemical Cabinet 1 |
| dimethyl sulfoxide | (CH3)2 SO | Chemical Cabinet 1 |
| ethanol | C2 H5 OH | Flammable Cabinet 1 |
| ethylenediaminetetraacetic acid iron (III) sodium salt | C10H12FeN2NaO8 | Chemical Cabinet 1 |
| ethylenediaminetetraacetic acid - disodium salt | C10H14N2O6Na2 * 2H2O | Chemical Cabinet 1 |
| fast green |  | Chemical Cabinet 2 |
| ferric ammonium sulfate | Fe Nh4 (SO4)2 * 12H2O | Chemical Cabinet 1 |
| ferrous sulfate - heptahydrate | FeSO4 * 7H2O | Chemical Cabinet 1 |
| ferulic acid |  | Chemical Cabinet 1 |
| formaldehyde | H CHO | Chemical Cabinet 3 |
| gelatin |  | Chemical Cabinet 2 |
| gibberellic acid - potassium salt | C19 H21 K O6 | Chemical Cabinet 2 |
| glycerol | HO CH2CHO HCH2OH | Chemical Cabinet 2 |
| glycine HCl | Ca Hg N2 O3 * HCL | Chemical Cabinet 2 |
| hematoxylin - trihydrate |  | Chemical Cabinet 2 |
| Hemo De |  | Flammable Cabinet 1 |
| hydrochloric acid | HCL | Chemical Cabinet 3 |
| hydrogen peroxide | H2O2 | Chemical Cabinet 3 |
| indole –3-butyric Acid (0.1%) |  | Chemical Cabinet 2 |
| lacmoid (resorcin blue) |  | Chemical Cabinet 2 |
| lactic acid (85%) |  | Chemical Cabinet 3 |
| L-ascorbic acid | C6H8O6 | Chemical Cabinet 2 |
| magnesium chloride - hexahydrate | Mg Cl2 * 6H2O | Chemical Cabinet 2 |
| magnesium perchlorate |  | Chemical Cabinet 2 |
| magnesium sulfate - heptahydrate | Mg SO4 * 7H2O | Chemical Cabinet 2 |
| manganese sulfate - anhydrous | Mn SO4 | Chemical Cabinet 2 |
| manganese sulfate - monohydrate | MnSO4 H2O | Chemical Cabinet 2 |
| manganese chloride - 4-hydrate | Mn Cl2 * 4H2O | Chemical Cabinet 2 |
| mercuric chloride | Hg Cl | Chemical Cabinet 2 |
| methyl cellulose powder |  | Chemical Cabinet 2 |
| methylene blue |  | Chemical Cabinet 2 |
| myo Inositol | C6 H12 O6 | Chemical Cabinet 2 |
| nicotinic acid |  | Chemical Cabinet 2 |
| nitric acid | H NO3 | Chemical Cabinet 3 |
| oxalic acid | (COOH)2 * 2H2O | Chemical Cabinet 2 |
| Paraplast |  | Chemical Cabinet 3 |
| pH paper (6 to 8) |  | Chemical Cabinet 2 |
| phenol | C6 H5 OH | Chemical Cabinet 2 |
| Phytagel |  | Chemical Cabinet 2 |
| picric acid, Saturated (1.2%) |  | Chemical Cabinet 3 |
| potassium chloride | KCL | Chemical Cabinet 2 |
| potassium dichromate |  | Chemical Cabinet 2 |
| potassium hydroxide | KOH | Chemical Cabinet 2 |
| potassium iodide | KI | Chemical Cabinet 2 |
| potassium nitrate | K NO3 | Chemical Cabinet 2 |
| potassium permanganate | K MnO4 | Chemical Cabinet 2 |
| potassium phosphate - monobasic | K H2 PO4 | Chemical Cabinet 2 |
| potassium sulfate | K2 SO4 | Chemical Cabinet 2 |
| Randolph’s microscopy fixative | Solution A | Chemical Cabinet 2 |
| Randolph’s microscopy fixative | Solution B | Chemical Cabinet 2 |
| safranin O |  | Chemical Cabinet 2 |
| soda lime |  | Chemical Cabinet 2 |
| sodium acetate - anhydrous | Na C2 H3 O2 | Chemical Cabinet 2 |
| sodium acetate - trihydrate | Na C2 H3 O2 * 3H2O | Chemical Cabinet 2 |
| sodium chloride | Na Cl | Chemical Cabinet 2 |
| sodium hydroxide | Na OH | Chemical Cabinet 2 |
| sodium molybdate - dihydrate | Na Mo2 * 2H2O | Chemical Cabinet 2 |
| sodium nitrate | Na NO3 | Chemical Cabinet 2 |
| sodium phosphate - monobasic | Na H2 PO4 * H2O | Chemical Cabinet 2 |
| sodium phosphate - dibasic | Na HPO4 * 12H2O | Chemical Cabinet 2 |
| orange G |  | Chemical Cabinet 2 |
| Standard Wetting Agent (Tween20) |  | Chemical Cabinet 2 |
| sucrose | C12H22O11 | Chemical Cabinet 2 |
| sulfuric acid |  | Chemical Cabinet 3 |
| tannic acid |  | Chemical Cabinet 2 |
| thiamine HCl |  | Chemical Cabinet 2 |
| thidiazuron |  | Freezer |
| thymol, crystal |  | Chemical Cabinet 2 |
| toluene | C6H5CH3 | Flammable Cabinet 1 |
| Triton X-100 (wetting agent) |  | Chemical Cabinet 2 |
| Woody Plant Medium |  | Refrigerator |
| zinc chloride | Zn Cl2 | Chemical Cabinet 2 |
| zinc sulfate - heptahydrate | Zn SO4 * 7H2O | Chemical Cabinet 2 |

Appendix B

Material Safety Data Sheets

Material Safety Data Sheets for the SREC are maintained electronically on Dr Barney’s desktop hard drive with external hard drive backup. The files can be accessed by Dr. Barney or Brooke Ramsey at C:\My Documents\R&E-CENT\Safety\MSDS.

MSDSs can also be accessed online at http://hazard.com/msds/index.php.

Appendix C

Standard Operating Procedures

| Laboratory Procedure: Laminar hood operation |  |  | DATE: April 10, 2008 |
| --- | --- | --- | --- |
| Department: Sandpoint Research & Extension Center | LABORATORY |  | Analysis by: Danny L. Barney |
| REQUIRED AND RECOMMENDED PERSONAL PROTECTIVE EQUIPMENT: |  |  | APPROVED BY: Danny L. Barney |
| SEQUENCE OF LABORATORY PROCEDURE |  | POTENTIAL LABORATORY ACCIDENTS OR HAZARDS | REQUIRED SAFE LABORATORY PROCEDURE |
| Using a hand spray bottle, spray the inside plastic walls, countertop, and bacticinerator or glass bead sterilizer with an aqueous solution of Lysol. Do not spray the perforated back wall of the hood with Lysol. Disinfect the back wall of the hood with a spray of 70% pure ethanol. Do not use denatured ethanol. Avoid spraying the ethanol near the bacticinerator or glass bead sterilizer. Turn on the hood blower and bacticinerator or glass bead sterilizer. |  | Flash fire. Inhalation of alcohol fumes. | Wear splash goggles. Wear lab coat. Wear latex or vinyl surgical gloves. |
| Place a sterilized instrument rack, instruments, and paper towel into hood. Spray the outsides of the sterilization bags with a 70% solution of pure ethanol. |  | Flash fire. Inhalation of alcohol fumes. | Wear splash goggles. Wear lab coat. Wear latex or vinyl surgical gloves. |
| During micropropagation or seed germination work, frequently disinfect hands by spraying with 70% ethanol. Between cultures, spray the countertop, instruments, and rack with 70% ethanol. Between containers, disinfect instruments by placing the tips into the bacticinerator or glass bead sterilizer for 20 seconds and then replacing the instruments in the rack to cool. Do not place instruments in the bacticinerator or glass bead sterilizer if they have any alcohol on them or you have alcohol on your hand. Do not spray alcohol near bacticinerator. |  | Flash fire. Inhalation of alcohol fumes. | Wear splash goggles. Wear lab coat. Wear latex or vinyl surgical gloves. |
| Disinfect containers being brought into the hood with a wetting spray of 70% ethanol. |  | Flash fire. Inhalation of alcohol fumes. | Wear splash goggles. Wear lab coat. Wear latex or vinyl surgical gloves. |

| Laboratory Procedure: Steam sterilizer operation |  |  | DATE: April 9, 2008 |
| --- | --- | --- | --- |
| Department: Sandpoint Research & Extension Center | LABORATORY |  | Analysis by: Danny L. Barney |
| REQUIRED AND RECOMMENDED PERSONAL PROTECTIVE EQUIPMENT: |  |  | APPROVED BY: Danny L. Barney |
| SEQUENCE OF LABORATORY PROCEDURE |  | POTENTIAL LABORATORY ACCIDENTS OR HAZARDS | REQUIRED SAFE LABORATORY PROCEDURE |
| If the water tank is one-half full or less, set the sterilizer to “DRY” position, wait until the pressure gauge reads “0,” and open the screw stopper in the funnel at the back of the sterilizer. Add cold tap water until the level reads at the top of the sight glass. |  | Contact burns from hot surfaces on sterilizer. Burns from escaping steam. Explosive release of steam pressure. | Wear splash goggles. |
| Ensure stopper on funnel is closed tightly and sterilizer is set to “OFF.” Empty and replace the plastic water collection jar beneath sterilizer. Turn switch at lower left rear of sterilizer to “ON.” Allow the jacket pressure to build to 17 to 20 pounds per square inch of pressure. |  | Contact burns from hot surfaces on sterilizer. Burns from escaping steam. Explosive release of steam pressure. | Wear splash goggles. |
| Ensure that the chamber pressure gauge reads “0.” Stand in front of the sterilizer and to the right, away from the door. Engage the safety latch and slowly rotate the latch wheel counterclockwise to a fully open position. Then disengage the safety latch and open the door. Load the chamber so as to leave room around and between items. Reengage the safety latch and turn the latch wheel clockwise until it seats firmly. |  | Contact burns from hot surfaces on sterilizer. Burns from escaping steam. Explosive release of steam pressure. Door can swing open violently. | Wear splash goggles and heavy-duty latex or nitrile gloves. |
| Stand to the right side of the sterilizer away from the door. Set the sterilizer to “Sterilize.” Allow the chamber pressure to build to 17 to 20 pounds per square inch of pressure. Allow contents to remain at that pressure for 35 minutes. |  | Contact burns from hot surfaces on sterilizer. Burns from escaping steam. Explosive release of steam pressure. Door can swing open violently. | Wear splash goggles and heavy-duty latex or nitrile gloves. |
| If the Chamber contains liquids, set the sterilizer to “SLOW EXHAUST” and allow the chamber pressure to drop to “0” before opening the door as described above. If there are no liquids or sealed containers inside the chamber, the sterilizer can be set to “FAST EXHAUST” and allowed to depressurize before opening, as described above. If you are finished with the sterilizer, set it to “DRY” to relieve the jacket pressure, leaving the door closed with the safety latch engaged but the door loose. |  | Contact burns from hot surfaces on sterilizer. Burns from escaping steam. Explosive release of steam pressure. Door can swing open violently. | Wear splash goggles and heavy-duty latex or nitrile gloves. |